|  | ELECTRICAL-PERMIT TO WOK MP-10 FORM 3 Electrical Work Permit |  |
| --- | --- | --- |
|  | 1100MW Al Henakiyah Solar Photovoltaic Independent Power Plant |  |

| PTW Ref. No: |  |  |  |  |  |  |  | Starting Date |  |  |  |  |  |  |  | Time |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Name: |  |  |  |  |  |  |  | Expected Duration |  |  |  |  |  |  |  | Time |  |  |  |  |  |  |  |
| Isolation Certificate # |  |  |  |  |  |  |  | Number of Employees |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Energized Lines/Equipment |  |  |  |  |  |  |  | De-Energized Line/ Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Work Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of job to be performed: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tool/Equipment’s to be used: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identify risk associated with this Electrical work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Electrocution |  | Arc Flash |  |  |  |  |  |  |  |  |  | Flying particles |  |  |  |  |  |  | Noise |  |  |  |  |
| Falling Objects |  | Protruding objects, parts |  |  |  |  |  |  |  |  |  | Tripping / Slipping |  |  |  |  |  |  | Electric shock |  |  |  |  |
| Fire |  | Manual handling |  |  |  |  |  |  |  |  |  | Electric Burn |  |  |  |  |  |  | Near Overhead lines |  |  |  |  |
| Other (Specify): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The following document shall be attached with this permit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Method Statement |  |  |  | Risk |  |  |  |  |  |  | Assessment Other (specify): |  |  |  |  |  |  |  |  |  |  |  |  |
| Precautions require you to complete the work safely (Filled by PTW Receiver and verified by PTW issuer) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes | No | N/A |  |
| Is the safe distance maintained? |  |  |  |  |  | Yes |  |  | No |  |  |  | Voltage ........................... Distance ...................... |  |  |  |  |  |  |  |  |  |  |
| Does the work require LOTO? If yes then LOTO Certificate must be attached. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Does the work require access to confined spaces? If yes, obtain a confined space entry permit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have all possible sources of electrical power been isolated, locked and properly tagged (LOTO)? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is below mentioned any one of Isolation in place and the isolation followed as per procedure? Switch Out Lockout/ Tag out No. of Locks: .................. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Has it been confirmed by testing, that the lines / equipment are de-energized ? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have tools and devices to be used been tested and adjusted? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other (specify): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The following areas / items have been inspected by the issuer and receiver |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire Extinguisher |  |  | Type ...................... |  |  |  |  | Quantity................ |  |  |  |  |  |  |  |  | Size.................... |  |  |  |  |  |  |
| Access/Escape Route |  |  |  |  | Danger/Waning Sign |  |  |  |  |  |  | Lighting |  |  |  |  |  | Safety Barriers |  |  |  |  |  |
| Stick |  |  |  |  | Portable Radio |  |  | Other (specify) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PPE Required for the activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Helmet |  |  |  |  | Safety Shoes |  |  |  |  |  |  | Electrical Gloves |  |  | Rating |  |  | Half Mask |  |  |  |  |  |
| Safety goggles |  |  |  |  | Reflective Vest |  |  |  |  |  |  | Dust Mask |  |  |  |  |  | Safety clothes |  |  |  |  |  |
| Face shield |  |  |  |  | Arc flash PPE |  |  |  |  |  |  | Safety Ear Plugs/muff |  |  |  |  |  | Other: |  |  |  |  |  |
| Issue and acceptance before work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Acceptance of Work Permission by the person in-charge (Permit Receiver) I certify that I have read and verified this work permit and checklist. I have been informed about the risk assessment results. I am aware of the risks that can be exposed to. I commit that I will be in line with all the safety rules mentioned in the work permit checklist and will not deflect any of them. Permit Receiver Name: Signature Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Authority to proceed by authorized person Lead Shift Engineer (Permit Issuer) I reviewed the work permission checklist and checked the working conditions. I have reviewed all aspects of the task/activity and am satisfied with the arrangements as detailed in the “risk assessment” have been put in place and certify that the activity detailed above is authorized to proceed Permit Issuer Name: Signature Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HSE Endorsement by HSE Practitioner (O&M/EPC/Sub-Con): Name: Signature Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

List of additional precaution measures if required

1.

2.

3.

4.

5.

This permit is valid for one day (one shift) from the date of issue.

| Sr | Name | Iqama Number | Signature | Sr | Name | Iqama Number | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | 11 |  |  |  |
| 2 |  |  |  | 12 |  |  |  |
| 3 |  |  |  | 13 |  |  |  |
| 4 |  |  |  | 14 |  |  |  |
| 5 |  |  |  | 15 |  |  |  |
| 6 |  |  |  | 16 |  |  |  |
| 7 |  |  |  | 17 |  |  |  |
| 8 |  |  |  | 18 |  |  |  |
| 9 |  |  |  | 19 |  |  |  |
| 10 |  |  |  | 20 |  |  |  |
| CLOSURE CHECKLIST |  |  |  |  |  |  |  |
| Status of Work? Work Completed; Work Incomplete; All Tools & Equipment Removed. LOTO / ICC Closed, If Applied; Permit Suspended; Housekeeping Done. |
| Permit Receiver |  |  |  | Permit Issuer |  |  |  |
| Name: |  | Signature: | Date: | Name: |  | Signature: | Date: |
| HSE Practitioner (O&M/EPC/Sub-Con) |  |  |  |  |  |  |  |
| Name: |  | Signature: | Date: |  |  |  |  |